## v-look up
ULT | Naed | Optotronic/tapTronic | Naed | Optotronic/tapTronic
D700C20UNVPW-L (& LS) | 57347 | OTi25W/120-277/1A2/DIM-1 | 75850 | LEDrv25UNVC1250DIM1AUX12NFC
D700C20UNVPW-L (& LS) | 57348 | OTi25W/120-277/1A2/DIM-1/J | 75851 | LEDrv25UNVC1250DIM1JAUX12NFC
D10CC30UNVPW-L (& LS) | 57351 | OTi40W/120-277/1A4/DIM-1 | 75852 | LEDrv40UNVC1400DIM1AUX12NFC
D10CC30UNVPW-L (& LS) | 57352 | OTi40W/120-277/1A4/DIM-1/J | 75853 | LEDrv40UNVC1400DIM1JAUX12NFC
D15CC55UNVPW-L (& LS) | 57355 | OTi55W/120-277/2A0/DIM-1
D15CC55UNVPW-L (& LS) | 57356 | OTi55W/120-277/2A0/DIM-1/J
D700C20UNVPWX12-K (& KS) | 57349 | OTi25W/120-277/1A2/DIM-1 AUX | 75850 | LEDrv25UNVC1250DIM1AUX12NFC
D700C20UNVPWX12-K (& KS) | 57350 | OTi25W/120-277/1A2/DIM-1/J AUX | 75851 | LEDrv25UNVC1250DIM1JAUX12NFC
D700C20UNVPWX24-K (& KS) | 57349 | OTi25W/120-277/1A2/DIM-1 AUX | #N/A | requires 24V AUX
D700C20UNVPWX24-K (& KS) | 57350 | OTi25W/120-277/1A2/DIM-1/J AUX | #N/A | requires 24V AUX
D10CC30UNVPWX12-K (& KS) | 57353 | OTi40W/120-277/1A4/DIM-1 AUX | 75852 | LEDrv40UNVC1400DIM1AUX12NFC
D10CC30UNVPWX12-K (& KS) | 57354 | OTi40W/120-277/1A4/DIM-1/J AUX | 75853 | LEDrv40UNVC1400DIM1JAUX12NFC
D10CC30UNVPWX24-K (& KS) | 57353 | OTi40W/120-277/1A4/DIM-1 AUX | #N/A | requires 24V AUX
D10CC30UNVPWX24-K (& KS) | 57354 | OTi40W/120-277/1A4/DIM-1/J AUX | #N/A | requires 24V AUX
D15CC55UNVPWX12-K (& KS) | 57357 | OTi55W/120-277/2A0/DIM-1 AUX
D15CC55UNVPWX12-K (& KS) | 57358 | OTi55W/120-277/2A0/DIM-1/J AUX
D15CC55UNVPWX24-K (& KS) | 57357 | OTi55W/120-277/2A0/DIM-1 AUX
D15CC55UNVPWX24-K (& KS) | 57358 | OTi55W/120-277/2A0/DIM-1/J AUX
D700C30347TW-K (& KS) | 57994 | OTi25W/347/1A2/DIM-1
D700C30347TW-K (& KS) | 57995 | OTi25W/347/1A2/DIM-1/J
D10CC30347TW-K (& KS) | 57998 | OTi40W/347/1A4/DIM-1
D10CC30347TW-K (& KS) | 57999 | OTi40W/347/1A4/DIM-1/J
D10CC55347TW-K (& KS) | 57998 | OTi40W/347/1A4/DIM-1
D10CC55347TW-K (& KS) | 57999 | OTi40W/347/1A4/DIM-1/J
D15CC55347TW-K (& KS) | 57998 | OTi40W/347/1A4/DIM-1
D15CC55347TW-K (& KS) | 57999 | OTi40W/347/1A4/DIM-1/J
D700C20UNVPW-C | 57431 | OTi 20/120-277/0A7 DIM-1 L G2
D10CC30UNVPW-C | 57433 | OTi 30/120-277/1A0 DIM-1 L G2 | 75856 | LEDrv36UNVL1000DIM1AUX12NFC
D15CC55UNVPW-C | 57452 | OTi 50/120-277/1A4 DIM-1 L G2 | 75857 | LEDrv55UNVL1300DIM1AUX12NFC
D21CC80UNVPW-C | 57420 | OTi 85/120‐277/2A3 DIM‐1 L | 75858 | LEDrv88UNVL2400DIM1AUX12NFC
D21CC80347PW-C | *2743W9 | OTi 85/347-480/2A3 DIM-1 L
D700C20UNVPWX12-C | 57453 | OTi 20/120-277/0A7 DIM-1 L AUX G2
D700C20UNVPWX24-C | 57453 | OTi 20/120-277/0A7 DIM-1 L AUX G2
D10CC30UNVPWX12-C | 57454 | OTi 30/120-277/1A0 DIM-1 L AUX G2 | 75856 | LEDrv36UNVL1000DIM1AUX12NFC
D10CC30UNVPWX24-C | 57454 | OTi 30/120-277/1A0 DIM-1 L AUX G2
D15CC55UNVPWX12-C | 57456 | OTi 50/120-277/1A4 DIM-1 L AUX G2 | 75857 | LEDrv55UNVL1300DIM1AUX12NFC
D15CC55UNVPWX24-C | 57456 | OTi 50/120-277/1A4 DIM-1 L AUX G2
D21CC80UNVPWX12-D | 57421 | OTi 85/120‐277/2A3 DIM‐1 L AUX | 75858 | LEDrv88UNVL2400DIM1AUX12NFC
D21CC80UNVPWX24-D | 57421 | OTi 85/120‐277/2A3 DIM‐1 L AUX
D700C30347TW-C | 79675 | OTi 30/347/1A0 DIM-1 L
D10CC30347TW-C | 79675 | OTi 30/347/1A0 DIM-1 L
D10CC55347TW-C | 79676 | OTi 50/347/1A4 DIM-1 L
D15CC55347TW-C | 79676 | OTi 50/347/1A4 DIM-1 L
D21CC80347TW-D | *2743W9 | OTi 85/347-480/2A3 DIM-1 L
D23CC90HRVTW-F | *2743W9 | OTi 85/347-480/2A3 DIM-1 L
D23CC90UNVTW-F | *2743W9 | OTi 85/347-480/2A3 DIM-1 L
D400C16UNVSL-GA | 57436 | OT 35W/UNV/0A75 CS DIM L
D600C25UNVSL-GA | 57436 | OT 35W/UNV/0A75 CS DIM L
D900C25UNVSL-GA | 57436 | OT 35W/UNV/0A75 CS DIM L
D500C26UNVSL-GA | 57436 | OT 35W/UNV/0A75 CS DIM L
D800C33UNVSL-GB | 57436 | OT 35W/UNV/0A75 CS DIM L
D700C36UNVSL-GB | 57436 | OT 35W/UNV/0A75 CS DIM L | #N/A | possibly 75856. case size larger.
D10CC44UNVSL-GC | 57438 | OT 55W/UNV/1A2 CS DIM L
D900C46UNVSL-GC | 57438 | OT 55W/UNV/1A2 CS DIM L | #N/A | possibly 75857. case size larger.
D11CC57UNVSL-GC | 57438 | OT 55W/UNV/1A2 CS DIM L | #N/A | possibly 75857. case size larger.
D700C30UNVD-C | 78033 | OTi30/120-277/1A0 DX L
D10CC30UNVD-C | 78033 | OTi30/120-277/1A0 DX L
D10CC55UNVD-C | 78034 | OTi50/120-277/1A4 DX L
D10CC55347D-C | #N/A | -
D10CC55UNVD-K (& KS) | *2743XF | OTi60/UNV/1600C/DALI/P6
D10CC55347D-K (& KS) | #N/A | -
D15CC55UNVD-C | 78034 | OTi50/120-277/1A4 DX L
D15CC55347D-C | #N/A | -
D15CC55UNVD-K (& KS) | *2743XF | OTi60/UNV/1600C/DALI/P6
D15CC55347D-K (& KS) | #N/A | -
D21CC80UNVD-D | 57432 | OTi 85/120-277/2A3 DX L
D21CC80347D-D | #N/A | -
D10CC30UVPID12-C | 78033 | OTi30/120-277/1A0 DX L
D15CC55UVPID12-C | 78034 | OTi50/120-277/1A4 DX L
D21CC80UVPID12-D | 57432 | OTi 85/120-277/2A3 DX L
D12V20UNV-JL | 51604 | OT20W/12V/UNV
L12V60UNV-A | 51632 | OT60W/12V/UNV
L12V60UV6-A | 51632 | OT60W/12V/UNV
L12V60UNV-Q | 51632 | OT60W/12V/UNV
L12V60UNV-R | 51632 | OT60W/12V/UNV
L12V120UNV-S | 51632 | OT60W/12V/UNV (2x)
L12V180UNV-E | 51632 | OT60W/12V/UNV (3x)
L24V100UNV-A | 51522 | OT96W/24V/UNV
L24V100UNV-Q | 51522 | OT96W/24V/UNV
D10CC150UVT-F | 79367 | OT180/UNV/1250C/2DIM/P6 | 75855 | LEDrv180UNV1250DIMAUX12P6NFC
D10CC150HVT-F | 79209 | OT180/347-480/1250C/2DIM/P6
D14CC150HVT-F | 79209 | OT180/347-480/1250C/2DIM/P6
D14CC150UVT-F | 79367 | OT180/UNV/1250C/2DIM/P6 | 75855 | LEDrv180UNV1250DIMAUX12P6NFC
D14CC180UNVPWX12-F | *2743Y5 | OTi200/UNV/1400C/2DIM+/P6/AUX
D14CC180UNVPWX24-F | *2743Y5 | OTi200/UNV/1400C/2DIM+/P6/AUX
D20CC180UNVPWX12-F | *2743Y5 | OTi200/UNV/1400C/2DIM+/P6/AUX
D20CC180UNVPWX24-F | *2743Y5 | OTi200/UNV/1400C/2DIM+/P6/AUX
D530C150HVT-F | 79208 | OT180/347-480/800C/2DIM/P6
D530C150UVT-F | 79366 | OT180/UNV/800C/2DIM/P6 | 75855 | LEDrv180UNV1250DIMAUX12P6NFC
D700C150HVT-F | 79208 | OT180/347-480/800C/2DIM/P6
D700C150UVT-F | 79366 | OT180/UNV/800C/2DIM/P6 | 75855 | LEDrv180UNV1250DIMAUX12P6NFC
D950C180UNVPWX12-F | *2743Y4 | OTi200/UNV/1400C/2DIM+/P6
D950C180UNVPWX24-F | *2743Y4 | OTi200/UNV/1400C/2DIM+/P6
D15CC55UVPA12-FS | 57510 | OTi95W/UNV/2750C/2DIM+/P6/AUX
D15CC55UVPA24-FS | 57510 | OTi95W/UNV/2750C/2DIM+/P6/AUX
D23CC90HRVT-F | *2743XL | OTi95/347-480/2750C/2DIM+/P6/AUX
D23CC90HRVTW-F | *2743XL | OTi95/347-480/2750C/2DIM+/P6/AUX
D23CC90UNVT-F | 57509 | OTi95W/UNV/2750C/2DIM+/P6
D23CC90UNVTW-F | 57509 | OTi95W/UNV/2750C/2DIM+/P6
D28CC95UVPA12-F | 57510 | OTi95W/UNV/2750C/2DIM+/P6/AUX
D28CC95UVPA24-F | 57510 | OTi95W/UNV/2750C/2DIM+/P6/AUX
D28CC95UVPA12-VF | 57510 | OTi95W/UNV/2750C/2DIM+/P6/AUX
D28CC95UVPA24-VF | 57510 | OTi95W/UNV/2750C/2DIM+/P6/AUX
D700C20UNVPW-C010C | 75851 | LEDrv25UNVC1250DIM1JAUX12
D10CC30UNVPW-C010C | 75852 | LEDrv40UNVC1400DIM1AUX12NFC
D21CC80UNVPW-C010C | 75858 | LEDrv88UNVL2400DIM1AUX12NFC

## Compact
| ULT |  | OPTOTRONIC NEAREST REPLACEMENT |  | TAPTRONIC NEAREST REPLACEMENT |  | Products were crossed based on their product category, similarity on output voltage range and capability. These are nearest replacement and they might not be exact matches. Check lumaniere/led module you are trying to support. Check driver product label and or fixture label to help narrow down the cross that best fits your needs.
COMPACT | PW Series | D700C20UNVPW-L (& LS) | 57347 | OTi25W/120-277/1A2/DIM-1 | 75850 | LEDrv25UNVC1250DIM1AUX12NFC | PW Series Wireless Programming with 1% Dimming (L is F-can) (LS is J-Can)
|  |  | 57348 | OTi25W/120-277/1A2/DIM-1/J | 75851 | LEDrv25UNVC1250DIM1JAUX12NFC
|  | D10CC30UNVPW-L (& LS) | 57351 | OTi40W/120-277/1A4/DIM-1 | 75852 | LEDrv40UNVC1400DIM1AUX12NFC
|  |  | 57352 | OTi40W/120-277/1A4/DIM-1/J | 75853 | LEDrv40UNVC1400DIM1JAUX12NFC
|  | D15CC55UNVPW-L (& LS) | 57355 | OTi55W/120-277/2A0/DIM-1 | #N/A
|  |  | 57356 | OTi55W/120-277/2A0/DIM-1/J | #N/A
| PWX Series | D700C20UNVPWX12-K (& KS) | 57349 | OTi25W/120-277/1A2/DIM-1 AUX | 75850 | LEDrv25UNVC1250DIM1AUX12NFC | PWX Series Wireless Programming with 1% Dimming and Auxiliary Output Power (K is F-can) (KS is J-Can)
|  |  | 57350 | OTi25W/120-277/1A2/DIM-1/J AUX | 75851 | LEDrv25UNVC1250DIM1JAUX12NFC
|  | D700C20UNVPWX24-K (& KS) | 57349 | OTi25W/120-277/1A2/DIM-1 AUX | #N/A | requires 24V AUX
|  |  | 57350 | OTi25W/120-277/1A2/DIM-1/J AUX | #N/A | requires 24V AUX
|  | D10CC30UNVPWX12-K (& KS) | 57353 | OTi40W/120-277/1A4/DIM-1 AUX | 75852 | LEDrv40UNVC1400DIM1AUX12NFC
|  |  | 57354 | OTi40W/120-277/1A4/DIM-1/J AUX | 75853 | LEDrv40UNVC1400DIM1JAUX12NFC
|  | D10CC30UNVPWX24-K (& KS) | 57353 | OTi40W/120-277/1A4/DIM-1 AUX | #N/A | requires 24V AUX
|  |  | 57354 | OTi40W/120-277/1A4/DIM-1/J AUX | #N/A | requires 24V AUX
|  | D15CC55UNVPWX12-K (& KS) | 57357 | OTi55W/120-277/2A0/DIM-1 AUX | #N/A
|  |  | 57358 | OTi55W/120-277/2A0/DIM-1/J AUX | #N/A
|  | D15CC55UNVPWX24-K (& KS) | 57357 | OTi55W/120-277/2A0/DIM-1 AUX | #N/A
|  |  | 57358 | OTi55W/120-277/2A0/DIM-1/J AUX | #N/A
| TW Series | D700C30347TW-K (& KS) | 57994 | OTi25W/347/1A2/DIM-1 | #N/A | Q4 2023 | TW Series Constant Power Output Tuning 347V (K is F-can) (KS is J-Can)
|  |  | 57995 | OTi25W/347/1A2/DIM-1/J | #N/A | Q4 2023
|  | D10CC30347TW-K (& KS) | 57998 | OTi40W/347/1A4/DIM-1 | #N/A | Q4 2023
|  |  | 57999 | OTi40W/347/1A4/DIM-1/J | #N/A | Q4 2023
|  | D10CC55347TW-K (& KS) | 57998 | OTi40W/347/1A4/DIM-1 | #N/A | Q4 2023
|  |  | 57999 | OTi40W/347/1A4/DIM-1/J | #N/A | Q4 2023
|  | D15CC55347TW-K (& KS) | 57998 | OTi40W/347/1A4/DIM-1 | #N/A | Q4 2023
|  |  | 57999 | OTi40W/347/1A4/DIM-1/J | #N/A | Q4 2023
|  | (K is F-can) (KS is J-Can) | eldoLED OPTOTRONIC products are distributed by LEDVANCE LLC.

## Linear
ULT |  |  | OPTOTRONIC NEAREST REPLACEMENT |  | TAPTRONIC NEAREST REPLACEMENT
Linear | PW Series | D700C20UNVPW-C | 57431 | OTi 20/120-277/0A7 DIM-1 L G2 | #N/A
|  | D10CC30UNVPW-C | 57433 | OTi 30/120-277/1A0 DIM-1 L G2 | 75856 | LEDrv36UNVL1000DIM1AUX12NFC
|  | D15CC55UNVPW-C | 57452 | OTi 50/120-277/1A4 DIM-1 L G2 | 75857 | LEDrv55UNVL1300DIM1AUX12NFC
|  | D21CC80UNVPW-C | 57420 | OTi 85/120‐277/2A3 DIM‐1 L | 75858 | LEDrv88UNVL2400DIM1AUX12NFC
|  | D21CC80347PW-C | *2743W9 | OTi 85/347-480/2A3 DIM-1 L | #N/A
| PWX Series | D700C20UNVPWX12-C | 57453 | OTi 20/120-277/0A7 DIM-1 L AUX G2 | #N/A
|  | D700C20UNVPWX24-C | 57453 | OTi 20/120-277/0A7 DIM-1 L AUX G2 | #N/A
|  | D10CC30UNVPWX12-C | 57454 | OTi 30/120-277/1A0 DIM-1 L AUX G2 | 75856 | LEDrv36UNVL1000DIM1AUX12NFC
|  | D10CC30UNVPWX24-C | 57454 | OTi 30/120-277/1A0 DIM-1 L AUX G2 | #N/A | requires 24V AUX
|  | D15CC55UNVPWX12-C | 57456 | OTi 50/120-277/1A4 DIM-1 L AUX G2 | 75857 | LEDrv55UNVL1300DIM1AUX12NFC
|  | D15CC55UNVPWX24-C | 57456 | OTi 50/120-277/1A4 DIM-1 L AUX G2 | #N/A | requires 24V AUX
|  | D21CC80UNVPWX12-D | 57421 | OTi 85/120‐277/2A3 DIM‐1 L AUX | 75858 | LEDrv88UNVL2400DIM1AUX12NFC
|  | D21CC80UNVPWX24-D | 57421 | OTi 85/120‐277/2A3 DIM‐1 L AUX | #N/A | requires 24V AUX | TW Series Constant Power Output Tuning (Linear Case) 347V
| TW Series | D700C30347TW-C | 79675 | OTi 30/347/1A0 DIM-1 L | #N/A | Q4 2023
|  | D10CC30347TW-C | 79675 | OTi 30/347/1A0 DIM-1 L | #N/A | Q4 2023
|  | D10CC55347TW-C | 79676 | OTi 50/347/1A4 DIM-1 L | #N/A | Q4 2023
|  | D15CC55347TW-C | 79676 | OTi 50/347/1A4 DIM-1 L | #N/A | Q4 2023
|  | D21CC80347TW-D | *2743W9 | OTi 85/347-480/2A3 DIM-1 L | #N/A | Q4 2023
|  | D23CC90HRVTW-F | *2743W9 | OTi 85/347-480/2A3 DIM-1 L | #N/A | Q4 2023
|  | D23CC90UNVTW-F | *2743W9 | OTi 85/347-480/2A3 DIM-1 L | #N/A | Q4 2023
| Value Series | D400C16UNVSL-GA | 57436 | OT 35W/UNV/0A75 CS DIM L | #N/A |  | Value Series G1 & G2 Selectable Output Current Three small form factor case size options Four selectable output currents dip switches on back side
|  | D600C25UNVSL-GA | 57436 | OT 35W/UNV/0A75 CS DIM L | #N/A
|  | D900C25UNVSL-GA | 57436 | OT 35W/UNV/0A75 CS DIM L | #N/A
|  | D500C26UNVSL-GA | 57436 | OT 35W/UNV/0A75 CS DIM L | #N/A
|  | D800C33UNVSL-GB | 57436 | OT 35W/UNV/0A75 CS DIM L | #N/A
|  | D700C36UNVSL-GB | 57436 | OT 35W/UNV/0A75 CS DIM L | #N/A | possibly 75856. case size larger.
|  | D10CC44UNVSL-GC | 57438 | OT 55W/UNV/1A2 CS DIM L | #N/A
|  | D900C46UNVSL-GC | 57438 | OT 55W/UNV/1A2 CS DIM L | #N/A | possibly 75857. case size larger.
|  | D11CC57UNVSL-GC | 57438 | OT 55W/UNV/1A2 CS DIM L | #N/A | possibly 75857. case size larger.
| DALI Dimming | D700C30UNVD-C | 78033 | OTi30/120-277/1A0 DX L | #N/A |  | Dali
|  | D10CC30UNVD-C | 78033 | OTi30/120-277/1A0 DX L | #N/A
|  | D10CC55UNVD-C | 78034 | OTi50/120-277/1A4 DX L | #N/A
|  | D10CC55347D-C | #N/A | - | #N/A
|  | D10CC55UNVD-K (& KS) | *2743XF | OTi60/UNV/1600C/DALI/P6 | #N/A
|  | D10CC55347D-K (& KS) | #N/A | - | #N/A
|  | D15CC55UNVD-C | 78034 | OTi50/120-277/1A4 DX L | #N/A
|  | D15CC55347D-C | #N/A | - | #N/A
|  | D15CC55UNVD-K (& KS) | *2743XF | OTi60/UNV/1600C/DALI/P6 | #N/A
|  | D15CC55347D-K (& KS) | #N/A | - | #N/A
|  | D21CC80UNVD-D | 57432 | OTi 85/120-277/2A3 DX L | #N/A
|  | D21CC80347D-D | #N/A | - | #N/A
| Conn- ected Drivers | D10CC30UVPID12-C | 78033 | OTi30/120-277/1A0 DX L | #N/A
|  | D15CC55UVPID12-C | 78034 | OTi50/120-277/1A4 DX L | #N/A
|  | D21CC80UVPID12-D | 57432 | OTi 85/120-277/2A3 DX L | #N/A
| Constant Voltage | D12V20UNV-JL | 51604 | OT20W/12V/UNV | #N/A |  | Constant Voltage 12V or 24V Output Voltage
|  | L12V60UNV-A | 51632 | OT60W/12V/UNV | #N/A
|  | L12V60UV6-A | 51632 | OT60W/12V/UNV | #N/A
|  | L12V60UNV-Q | 51632 | OT60W/12V/UNV | #N/A
|  | L12V60UNV-R | 51632 | OT60W/12V/UNV | #N/A
|  | L12V120UNV-S | 51632 | OT60W/12V/UNV (2x) | #N/A
|  | L12V180UNV-E | 51632 | OT60W/12V/UNV (3x) | #N/A
|  | L24V100UNV-A | 51522 | OT96W/24V/UNV | #N/A
|  | L24V100UNV-Q | 51522 | OT96W/24V/UNV | #N/A
* are those not in our LEDVANCE portfolio, but out in the market as eldoLED Optotronic products
eldoLED OPTOTRONIC products are distributed by LEDVANCE LLC.

## Outdoor
ULT |  |  | OPTOTRONIC Nearest Replacement |  | TAPTRONIC NEAREST REPLACEMENT
OUTDOOR | >100W | D10CC150UVT-F | 79367 | OT180/UNV/1250C/2DIM/P6 | 75855 | LEDrv180UNV1250DIMAUX12P6NFC
|  | D10CC150HVT-F | 79209 | OT180/347-480/1250C/2DIM/P6 | #N/A
|  | D14CC150HVT-F | 79209 | OT180/347-480/1250C/2DIM/P6 | #N/A
|  | D14CC150UVT-F | 79367 | OT180/UNV/1250C/2DIM/P6 | 75855 | LEDrv180UNV1250DIMAUX12P6NFC
|  | D14CC180UNVPWX12-F | *2743Y5 | OTi200/UNV/1400C/2DIM+/P6/AUX | #N/A
|  | D14CC180UNVPWX24-F | *2743Y5 | OTi200/UNV/1400C/2DIM+/P6/AUX | #N/A
|  | D20CC180UNVPWX12-F | *2743Y5 | OTi200/UNV/1400C/2DIM+/P6/AUX | #N/A
|  | D20CC180UNVPWX24-F | *2743Y5 | OTi200/UNV/1400C/2DIM+/P6/AUX | #N/A
|  | D530C150HVT-F | 79208 | OT180/347-480/800C/2DIM/P6 | #N/A
|  | D530C150UVT-F | 79366 | OT180/UNV/800C/2DIM/P6 | 75855 | LEDrv180UNV1250DIMAUX12P6NFC
|  | D700C150HVT-F | 79208 | OT180/347-480/800C/2DIM/P6 | #N/A
|  | D700C150UVT-F | 79366 | OT180/UNV/800C/2DIM/P6 | 75855 | LEDrv180UNV1250DIMAUX12P6NFC
|  | D950C180UNVPWX12-F | *2743Y4 | OTi200/UNV/1400C/2DIM+/P6 | #N/A
|  | D950C180UNVPWX24-F | *2743Y4 | OTi200/UNV/1400C/2DIM+/P6 | #N/A
| <100W | D15CC55UVPA12-FS | 57510 | OTi95W/UNV/2750C/2DIM+/P6/AUX | #N/A
|  | D15CC55UVPA24-FS | 57510 | OTi95W/UNV/2750C/2DIM+/P6/AUX | #N/A
|  | D23CC90HRVT-F | *2743XL | OTi95/347-480/2750C/2DIM+/P6/AUX | #N/A
|  | D23CC90HRVTW-F | *2743XL | OTi95/347-480/2750C/2DIM+/P6/AUX | #N/A
|  | D23CC90UNVT-F | 57509 | OTi95W/UNV/2750C/2DIM+/P6 | #N/A
|  | D23CC90UNVTW-F | 57509 | OTi95W/UNV/2750C/2DIM+/P6 | #N/A
|  | D28CC95UVPA12-F | 57510 | OTi95W/UNV/2750C/2DIM+/P6/AUX | #N/A
|  | D28CC95UVPA24-F | 57510 | OTi95W/UNV/2750C/2DIM+/P6/AUX | #N/A
|  | D28CC95UVPA12-VF | 57510 | OTi95W/UNV/2750C/2DIM+/P6/AUX | #N/A
|  | D28CC95UVPA24-VF | 57510 | OTi95W/UNV/2750C/2DIM+/P6/AUX | #N/A
* are those not in our LEDVANCE portfolio, but out in the market as eldoLED Optotronic products
eldoLED OPTOTRONIC products are distributed by LEDVANCE LLC.

## NOTES
Key Notes
Driver Programming
Universal Douglas LED Drivers that use EVERset Programming Software are:
PW Series
PWX Series
PA Series
EVERset™ Programming Software
and Universal Douglas Tuning Utility are available at
https://unvlt.com/support/led-driver-tuning/
Tuning Utility
Universal Douglas LED Drivers that use the Universal Douglas Tuning Utility are:
TW Series | The Universal Douglas Tuning Utility allows users to easily tune to a specific Output Current value
High Wattage | using the program and tuning adaptor USB device.

## ULT Prog. syst
Programming System
| Programmable Features | Software | Hardware | Driver Interface | Web reference
ULT | Output Current | EVERset Programming Software | LDPCOOA Configuration Tool | Wireless via RFID | EVERset advanced driver programing system allows for designers to customize LED Driver parameters with the EVERset graphical user interface and a compatible programming tool. This system will set the driver’s minimum and maximum output currents, dimming curves, dimming control voltages, and to enable the dim to off command. Specific configurations can then be set and saved for production use https://www.universaldouglas.com/tools/everset/
Minimum Dimming Level
Dim to Off
Dimming Curve
Lumen Maintenance
| Output Current | Touch to Tune | Once you download the APP. Email touchtotune@universaldouglas.com to request your personal access code. | iOS and Android. NFC | Universal has been at the heart of many OEM luminaires for over a decade, so who best to figure out how to handle the emerging LED Driver replacement market. Universal is pleased to offer a comprehensive way to tune replacement drivers that is quick and easy; just Touch to Tune. https://www.universaldouglas.com/tools/touch-to-tune-app/
Minimum Dimming Current
Dimming Curve
Full bright Control voltage
Minimum Dim control voltage
Dim to off control voltage

## Reminder
How to cross an LED Driver
When replacing an existing driver, make sure data is reviewed from:
Product label, lum, fixture.
This is help you understand what settings and parameters are needed to find an equivalent.
* are those not in our LEDVANCE portfolio, but out in the market as eldoLED Optotronic products